## BESS Properties
Technology | Specific Energy / Specific Power | Scale | CAPEX [Euro/kWh] | Fixed Operation and Maintenance Expenses ($/kW-yr) | Variable Operation and Maintenance Expenses ($/MWh) | Cycles to failure vs. depth of discharge | Self Discharge [%/a] | Capacity Factor | Efficiendy | Lower Bound Specific Energy [Wh/l] | Upper Bound Specific Energy [Wh/l] | Lower Bound Power Density [W/l] | Upper Bound Power Density [W/l] | Lower Bound Specific Energy [Wh/kg] | Upper Bound Specific Energy [Wh/kg] | Lower Bound Power Density [W/kg] | Upper Bound Power Density [W/kg] | Charge Time [h] | Reference
Li-ion | 4 | Commercial | 1338.4528 | 36.4728 | 0 | - | 0.125 | 0.249 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 6 | Commercial | 1636.6255 | 44.598 | 0 | - | 0.125 | 0.332 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 8 | Commercial | 1934.7982 | 52.7233 | 0 | - | 0.125 | 0.415 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 6 | Utility | 1491.6107 | 40.6464 | 0 | - | 0.125 | 0.249 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 8 | Utility | 1912.7974 | 52.1237 | 0 | - | 0.125 | 0.332 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 10 | Utility | 2333.9841 | 63.6011 | 0 | - | 0.125 | 0.415 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093894 | https://atb.nrel.gov/electricity/2022/data
NaS | - | Commerical | - | - | - | 4500 | - | - | 0.89 | 150 | 300 | 85 | 95 | - | - | - | - | - | https://doi.org/10.3390/en13184590
Lead-acid | - | Commercial | 321.1009 | - | - | 1500 | - | - | 0.875 | 10 | 45 | - | - | - | - | - | - | - | https://doi.org/10.1016/j.est.2023.107811
Sodium-Sulfur | - | Commercial | 366.9725 | - | - | - | - | - | 0.8 | - | - | - | - | - | - | - | - | - | https://doi.org/10.1016/j.est.2023.107811
Vanadium redox flow | - | Commercial | 550.4587 | - | - | - | - | - | 0.775 | - | - | - | - | - | - | - | - | - | https://doi.org/10.1016/j.est.2023.107811
Nickel-Cadmium | - | - | - | - | - | 3000 | - | - | 0.7 | - | - | - | - | 15 | 50 | 50 | 1000 | - | https://doi.org/10.1016/j.apenergy.2014.09.081 | https://doi.org/10.1016/j.rser.2021.111263
Pb acid | - | - | 32.5 | - | - | - | - | - | 0.6 | - | - | - | - | 30 | 50 | - | - | - | https://doi.org/10.1016/j.rser.2016.02.024
NiFe | - | - | 55 | - | - | - | - | - | 0.6 | - | - | - | - | 30 | 50 | - | - | - | https://doi.org/10.1016/j.rser.2016.02.024
NiMH | - | - | 275-550 | - | - | - | - | - | 0.675 | - | - | - | - | 50 | 80 | - | - | - | https://doi.org/10.1016/j.rser.2016.02.024
LiMn2O4/VO2 | - | - | 600 | - | - | - | - | - | 0.6 | - | - | - | - | 75 | 75 | - | - | - | https://doi.org/10.1016/j.rser.2016.02.024
Na-ion (lamba-MnO2/C) | - | - | 350 | - | - | - | - | - | 0.7 | - | - | - | - | 50 | 60 | - | - | - | https://doi.org/10.1016/j.rser.2016.02.024
Zn-air | - | - | 7.5 | - | - | - | - | - | 0.5 | - | - | - | - | 350 | 500 | - | - | - | https://doi.org/10.1016/j.rser.2016.02.024
Fe-air | - | - | 7.5 | - | - | - | - | - | 0.45 | - | - | - | - | 60 | 80 | - | - | - | https://doi.org/10.1016/j.rser.2016.02.024
Note on D1: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Costi complessivi per tutta l'installazione
Note on G1: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Average 80%
Note on H1: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Average
Note on J1: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Average Efficiency
Note on A2: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Abbiamo tenuto solo quelle commercialmente più sensate, quelle escluse sono presenti nel foglio di backup

## Li-ion ChargeDischarge Curve
SoC [%] | Charge_Energy [Wh] | Discharge_Energy [Wh] | Charge Rate [kWh/(kWhp*h)] | Discharge Rate [kWh/(kWhp*h)]
0 | 0 | 0 | 0 | 0
0.0032017 | 0.034554 | 0 | 0.0003949 | 0
0.0065716 | 0.070924 | 0 | 0.00041565 | 0
0.010023 | 0.10818 | 0 | 0.00042574 | 0
0.013541 | 0.14613 | 0 | 0.00043381 | 0
0.017115 | 0.18471 | 0 | 0.0004409 | 0
0.02073 | 0.22372 | 0 | 0.00044584 | 0
0.024382 | 0.26314 | 0 | 0.00045049 | 0
0.028068 | 0.30292 | 0 | 0.00045458 | 0
0.031781 | 0.34299 | 0 | 0.00045799 | 0
0.035523 | 0.38337 | 0 | 0.00046149 | 0
0.03929 | 0.42403 | 0 | 0.00046468 | 0
0.043077 | 0.4649 | 0 | 0.00046706 | 0
0.046879 | 0.50594 | 0 | 0.00046902 | 0
0.050696 | 0.54713 | 0 | 0.00047078 | 0
0.054521 | 0.58841 | 0 | 0.0004717 | 0
0.05835 | 0.62974 | 0 | 0.00047236 | 0
0.062183 | 0.6711 | 0 | 0.0004727 | 0
0.066026 | 0.71258 | 0 | 0.00047402 | 0
0.06987 | 0.75406 | 0 | 0.0004741 | 0
0.073716 | 0.79557 | 0 | 0.00047442 | 0
0.077569 | 0.83716 | 0 | 0.00047526 | 0
0.081427 | 0.87879 | 0 | 0.00047583 | 0
0.08529 | 0.92048 | 0 | 0.00047642 | 0
0.089159 | 0.96224 | 0 | 0.00047723 | 0
0.093029 | 1.004 | 0 | 0.0004773 | 0
0.096903 | 1.0458 | 0 | 0.00047787 | 0
0.10079 | 1.0877 | 0 | 0.00047918 | 0
0.10467 | 1.1297 | 0 | 0.00047899 | 0
0.10856 | 1.1717 | 0 | 0.00048002 | 0
0.11246 | 1.2137 | 0 | 0.00048032 | 0
0.11636 | 1.2558 | 0 | 0.00048086 | 0
0.12026 | 1.2979 | 0 | 0.00048115 | 0
0.12416 | 1.34 | 0 | 0.00048194 | 0
0.12807 | 1.3822 | 0 | 0.00048222 | 0
0.13199 | 1.4245 | 0 | 0.00048301 | 0
0.13591 | 1.4668 | 0 | 0.00048379 | 0
0.13984 | 1.5092 | 0 | 0.00048413 | 0
0.14377 | 1.5516 | 0 | 0.00048486 | 0
0.1477 | 1.5941 | 0 | 0.00048517 | 0
0.15164 | 1.6365 | 0 | 0.00048548 | 0
0.15558 | 1.6791 | 0 | 0.00048604 | 0
0.15953 | 1.7217 | 0 | 0.00048736 | 0
0.16348 | 1.7644 | 0 | 0.00048739 | 0
0.16743 | 1.807 | 0 | 0.00048742 | 0
0.1714 | 1.8498 | 0 | 0.00048895 | 0
0.17536 | 1.8925 | 0 | 0.00048869 | 0
0.17933 | 1.9354 | 0 | 0.00048945 | 0
0.1833 | 1.9783 | 0 | 0.00049016 | 0
0.18728 | 2.0211 | 0 | 0.00049007 | 0
0.19125 | 2.0641 | 0 | 0.00049051 | 0
0.19524 | 2.1071 | 0 | 0.00049141 | 0
0.19922 | 2.1501 | 0 | 0.00049179 | 0
0.20321 | 2.1931 | 0 | 0.00049165 | 0
0.2072 | 2.2362 | 0 | 0.00049203 | 0
0.2112 | 2.2793 | 0 | 0.00049314 | 0
0.21519 | 2.3224 | 0 | 0.0004927 | 0
0.21919 | 2.3656 | 0 | 0.00049356 | 0
0.22319 | 2.4088 | 0 | 0.00049338 | 0
0.2272 | 2.452 | 0 | 0.00049422 | 0
0.23121 | 2.4953 | 0 | 0.00049429 | 0
0.23522 | 2.5386 | 0 | 0.00049463 | 0
0.23923 | 2.5819 | 0 | 0.00049496 | 0
0.24324 | 2.6252 | 0 | 0.00049477 | 0
0.24726 | 2.6685 | 0 | 0.00049585 | 0
0.25128 | 2.7119 | 0 | 0.00049569 | 0
0.25531 | 2.7554 | 0 | 0.00049652 | 0
0.25934 | 2.7988 | 0 | 0.00049685 | 0
0.26336 | 2.8423 | 0 | 0.0004969 | 0
0.2674 | 2.8858 | 0 | 0.00049727 | 0
0.27143 | 2.9293 | 0 | 0.00049734 | 0
0.27547 | 2.9729 | 0 | 0.00049793 | 0
0.27951 | 3.0165 | 0 | 0.00049851 | 0
0.28355 | 3.0601 | 0 | 0.00049835 | 0
0.28759 | 3.1038 | 0 | 0.00049867 | 0
0.29164 | 3.1475 | 0 | 0.00049929 | 0
0.29569 | 3.1912 | 0 | 0.00049989 | 0
0.29974 | 3.2349 | 0 | 0.00049973 | 0
0.3038 | 3.2788 | 0 | 0.00050084 | 0
0.30786 | 3.3226 | 0 | 0.00050066 | 0
0.31192 | 3.3664 | 0 | 0.00050076 | 0
0.31599 | 3.4103 | 0 | 0.00050164 | 0
0.32006 | 3.4542 | 0 | 0.00050172 | 0
0.32413 | 3.4981 | 0 | 0.00050207 | 0
0.3282 | 3.542 | 0 | 0.00050193 | 0
0.33228 | 3.5861 | 0 | 0.00050332 | 0
0.33636 | 3.6301 | 0 | 0.00050287 | 0
0.34044 | 3.6741 | 0 | 0.00050372 | 0
0.34452 | 3.7182 | 0 | 0.00050381 | 0
0.34861 | 3.7623 | 0 | 0.00050388 | 0
0.3527 | 3.8064 | 0 | 0.00050422 | 0
0.35679 | 3.8507 | 0 | 0.00050534 | 0
0.36089 | 3.8949 | 0 | 0.00050516 | 0
0.36499 | 3.9391 | 0 | 0.00050522 | 0
0.36909 | 3.9833 | 0 | 0.00050609 | 0
0.37319 | 4.0276 | 0 | 0.00050562 | 0
0.3773 | 4.0719 | 0 | 0.00050677 | 0
0.3814 | 4.1163 | 0 | 0.00050658 | 0
0.38552 | 4.1607 | 0 | 0.00050772 | 0
0.38964 | 4.2051 | 0 | 0.00050755 | 0
0.39375 | 4.2495 | 0 | 0.00050765 | 0
0.39787 | 4.294 | 0 | 0.00050854 | 0
0.402 | 4.3385 | 0 | 0.00050863 | 0
0.40612 | 4.383 | 0 | 0.00050849 | 0
0.41025 | 4.4276 | 0 | 0.0005094 | 0
0.41439 | 4.4722 | 0 | 0.00051033 | 0
0.41852 | 4.5168 | 0 | 0.00050995 | 0
0.42267 | 4.5616 | 0 | 0.0005109 | 0
0.42681 | 4.6063 | 0 | 0.00051104 | 0
0.43096 | 4.651 | 0 | 0.00051146 | 0
0.4351 | 4.6958 | 0 | 0.00051164 | 0
0.43926 | 4.7406 | 0 | 0.00051262 | 0
0.44342 | 4.7855 | 0 | 0.00051281 | 0
0.44758 | 4.8304 | 0 | 0.000513 | 0
0.45174 | 4.8754 | 0 | 0.00051398 | 0
0.45591 | 4.9203 | 0 | 0.00051389 | 0
0.46008 | 4.9654 | 0 | 0.00051445 | 0
0.46426 | 5.0105 | 0 | 0.0005157 | 0
0.46844 | 5.0556 | 0 | 0.0005154 | 0
0.47263 | 5.1008 | 0 | 0.00051643 | 0
0.47682 | 5.146 | 0 | 0.00051666 | 0
0.48101 | 5.1912 | 0 | 0.00051692 | 0
0.48521 | 5.2365 | 0 | 0.00051771 | 0
0.48941 | 5.2819 | 0 | 0.00051851 | 0
0.49361 | 5.3273 | 0 | 0.00051876 | 0
0.49782 | 5.3727 | 0 | 0.00051901 | 0
0.50203 | 5.4181 | 0 | 0.00051954 | 0
0.50626 | 5.4637 | 0 | 0.00052062 | 0
0.51048 | 5.5093 | 0 | 0.0005209 | 0
0.5147 | 5.5549 | 0 | 0.00052116 | 0
0.51894 | 5.6006 | 0 | 0.00052251 | 0
0.52317 | 5.6463 | 0 | 0.00052224 | 0
0.52742 | 5.6921 | 0 | 0.00052306 | 0
0.53166 | 5.7379 | 0 | 0.00052388 | 0
0.53591 | 5.7838 | 0 | 0.00052415 | 0
0.54017 | 5.8297 | 0 | 0.0005247 | 0
0.54442 | 5.8756 | 0 | 0.0005247 | 0
0.54869 | 5.9216 | 0 | 0.00052633 | 0
0.55295 | 5.9676 | 0 | 0.00052578 | 0
0.55723 | 6.0138 | 0 | 0.0005274 | 0
0.5615 | 6.0599 | 0 | 0.00052712 | 0
0.56578 | 6.1061 | 0 | 0.00052764 | 0
0.57007 | 6.1524 | 0 | 0.000529 | 0
0.57435 | 6.1986 | 0 | 0.00052842 | 0
0.57864 | 6.2449 | 0 | 0.00052949 | 0
0.58294 | 6.2913 | 0 | 0.00053001 | 0
0.58724 | 6.3377 | 0 | 0.00053052 | 0
0.59155 | 6.3842 | 0 | 0.00053131 | 0
0.59586 | 6.4308 | 0 | 0.00053182 | 0
0.60017 | 6.4773 | 0 | 0.00053176 | 0
0.60449 | 6.5239 | 0 | 0.00053227 | 0
0.60881 | 6.5705 | 0 | 0.00053331 | 0
0.61314 | 6.6172 | 0 | 0.00053353 | 0
0.61747 | 6.6639 | 0 | 0.00053376 | 0
0.6218 | 6.7107 | 0 | 0.00053514 | 0
0.62614 | 6.7575 | 0 | 0.00053473 | 0
0.63048 | 6.8044 | 0 | 0.00053545 | 0
0.63483 | 6.8513 | 0 | 0.00053627 | 0
0.63918 | 6.8982 | 0 | 0.00053621 | 0
0.64353 | 6.9452 | 0 | 0.00053725 | 0
0.64789 | 6.9922 | 0 | 0.00053745 | 0
0.65225 | 7.0393 | 0 | 0.00053768 | 0
0.65661 | 7.0864 | 0 | 0.00053845 | 0
0.66098 | 7.1336 | 0 | 0.00053894 | 0
0.66536 | 7.1808 | 0 | 0.00053944 | 0
0.66973 | 7.228 | 0 | 0.00053965 | 0
0.67411 | 7.2753 | 0 | 0.00054044 | 0
0.6785 | 7.3226 | 0 | 0.00054122 | 0
0.68289 | 7.37 | 0 | 0.00054143 | 0
0.68729 | 7.4175 | 0 | 0.00054224 | 0
0.69169 | 7.4649 | 0 | 0.00054248 | 0
0.69608 | 7.5124 | 0 | 0.00054243 | 0
0.70049 | 7.5599 | 0 | 0.00054353 | 0
0.70491 | 7.6076 | 0 | 0.00054462 | 0
0.70932 | 7.6552 | 0 | 0.00054433 | 0
0.71374 | 7.7029 | 0 | 0.00054487 | 0
0.71817 | 7.7507 | 0 | 0.00054633 | 0
0.7226 | 7.7985 | 0 | 0.00054625 | 0
0.72703 | 7.8463 | 0 | 0.00054635 | 0
0.73147 | 7.8943 | 0 | 0.00054799 | 0
0.73591 | 7.9422 | 0 | 0.00054777 | 0
0.74036 | 7.9902 | 0 | 0.00054867 | 0
0.74481 | 8.0382 | 0 | 0.000549 | 0
0.74745 | 8.0667 | 0 | 0.00054366 | 0
0.75181 | 8.1138 | 0 | 0.00053832 | 0
0.75607 | 8.1597 | 0 | 0.00052473 | 0
0.76021 | 8.2045 | 0 | 0.00051116 | 0
0.76426 | 8.2481 | 0 | 0.00049908 | 0
0.76821 | 8.2907 | 0 | 0.00048708 | 0
0.77207 | 8.3324 | 0 | 0.00047653 | 0
0.77584 | 8.3731 | 0 | 0.00046491 | 0
0.77952 | 8.4129 | 0 | 0.00045459 | 0
0.78313 | 8.4518 | 0 | 0.00044466 | 0
0.78665 | 8.4898 | 0 | 0.00043436 | 0
0.7901 | 8.527 | 0 | 0.0004249 | 0
0.79347 | 8.5634 | 0 | 0.00041604 | 0
0.79677 | 8.5991 | 0 | 0.00040763 | 0
0.8 | 8.6339 | 0 | 0.0003985 | 0
0.80317 | 8.6681 | 0 | 0.00039072 | 0
0.80627 | 8.7016 | 0 | 0.00038253 | 0
0.80931 | 8.7344 | 0 | 0.00037463 | 0
0.81229 | 8.7665 | 0 | 0.00036719 | 0
0.81521 | 8.7981 | 0 | 0.00036064 | 0
0.81808 | 8.829 | 0 | 0.00035336 | 0
0.82089 | 8.8593 | 0 | 0.00034647 | 0
0.82365 | 8.8891 | 0 | 0.00034037 | 0
0.82635 | 8.9183 | 0 | 0.00033382 | 0
0.82901 | 8.947 | 0 | 0.0003279 | 0
0.83163 | 8.9752 | 0 | 0.0003227 | 0
0.83419 | 9.0029 | 0 | 0.00031671 | 0
0.83672 | 9.0302 | 0 | 0.00031148 | 0
0.83921 | 9.057 | 0 | 0.00030696 | 0
0.84165 | 9.0834 | 0 | 0.00030171 | 0
0.84407 | 9.1095 | 0 | 0.00029765 | 0
0.84645 | 9.1351 | 0 | 0.0002934 | 0
0.84879 | 9.1605 | 0 | 0.0002892 | 0
0.85111 | 9.1855 | 0 | 0.00028604 | 0
0.8534 | 9.2102 | 0 | 0.00028206 | 0
0.85566 | 9.2346 | 0 | 0.00027895 | 0
0.8579 | 9.2587 | 0 | 0.00027602 | 0
0.86011 | 9.2826 | 0 | 0.00027286 | 0
0.8623 | 9.3062 | 0 | 0.0002703 | 0
0.86447 | 9.3297 | 0 | 0.00026753 | 0
0.86662 | 9.3529 | 0 | 0.00026544 | 0
0.86875 | 9.3759 | 0 | 0.00026252 | 0
0.87086 | 9.3986 | 0 | 0.00026006 | 0
0.87295 | 9.4212 | 0 | 0.00025806 | 0
0.87502 | 9.4435 | 0 | 0.00025532 | 0
0.87707 | 9.4657 | 0 | 0.00025305 | 0
0.87911 | 9.4876 | 0 | 0.0002509 | 0
0.88112 | 9.5094 | 0 | 0.00024855 | 0
0.88312 | 9.5309 | 0 | 0.00024597 | 0
0.88509 | 9.5522 | 0 | 0.00024399 | 0
0.88706 | 9.5734 | 0 | 0.00024208 | 0
0.889 | 9.5944 | 0 | 0.0002395 | 0
0.89092 | 9.6152 | 0 | 0.00023752 | 0
0.89283 | 9.6357 | 0 | 0.00023525 | 0
0.89472 | 9.6561 | 0 | 0.00023303 | 0
0.8966 | 9.6764 | 0 | 0.0002312 | 0
0.89846 | 9.6964 | 0 | 0.00022937 | 0
0.9003 | 9.7163 | 0 | 0.00022723 | 0
0.90212 | 9.736 | 0 | 0.00022539 | 0
0.90394 | 9.7556 | 0 | 0.00022332 | 0
0.90573 | 9.775 | 0 | 0.00022179 | 0
0.90751 | 9.7942 | 0 | 0.00021961 | 0
0.90928 | 9.8133 | 0 | 0.00021808 | 0
0.91103 | 9.8322 | 0 | 0.00021618 | 0
0.91277 | 9.851 | 0 | 0.00021428 | 0
0.91449 | 9.8695 | 0 | 0.00021245 | 0
0.9162 | 9.888 | 0 | 0.00021087 | 0
0.9179 | 9.9063 | 0 | 0.00020902 | 0
0.91958 | 9.9244 | 0 | 0.00020683 | 0
0.92124 | 9.9423 | 0 | 0.00020496 | 0
0.92288 | 9.9601 | 0 | 0.00020276 | 0
0.92451 | 9.9776 | 0 | 0.00020085 | 0
0.92612 | 9.995 | 0 | 0.00019851 | 0
0.92771 | 10.0122 | 0 | 0.00019647 | 0
0.92929 | 10.0292 | 0 | 0.00019423 | 0
0.93084 | 10.046 | 0 | 0.00019184 | 0
0.93238 | 10.0625 | 0 | 0.00018938 | 0
0.9339 | 10.0789 | 0 | 0.0001873 | 0
0.9354 | 10.0951 | 0 | 0.00018487 | 0
0.93687 | 10.1111 | 0 | 0.00018251 | 0
0.93834 | 10.1269 | 0 | 0.00018047 | 0
0.93978 | 10.1425 | 0 | 0.00017805 | 0
0.94121 | 10.1578 | 0 | 0.0001759 | 0
0.94262 | 10.173 | 0 | 0.00017371 | 0
0.94401 | 10.188 | 0 | 0.0001713 | 0
0.94537 | 10.2028 | 0 | 0.00016884 | 0
0.94673 | 10.2174 | 0 | 0.00016688 | 0
0.94806 | 10.2318 | 0 | 0.00016431 | 0
0.94937 | 10.246 | 0 | 0.00016203 | 0
0.95067 | 10.2599 | 0 | 0.00015974 | 0
0.95194 | 10.2737 | 0 | 0.00015723 | 0
0.9532 | 10.2872 | 0 | 0.00015487 | 0
0.95444 | 10.3006 | 0 | 0.00015277 | 0
0.95566 | 10.3138 | 0 | 0.00015025 | 0
0.95685 | 10.3267 | 0 | 0.00014782 | 0
0.95803 | 10.3394 | 0 | 0.00014564 | 0
0.9592 | 10.352 | 0 | 0.00014323 | 0
0.96034 | 10.3643 | 0 | 0.00014076 | 0
0.96146 | 10.3764 | 0 | 0.00013831 | 0
0.96256 | 10.3883 | 0 | 0.00013605 | 0
0.96364 | 10.4 | 0 | 0.00013343 | 0
0.9647 | 10.4114 | 0 | 0.00013079 | 0
0.96574 | 10.4226 | 0 | 0.00012835 | 0
0.96676 | 10.4336 | 0 | 0.00012568 | 0
0.96776 | 10.4444 | 0 | 0.00012318 | 0
0.96874 | 10.455 | 0 | 0.00012057 | 0
0.9697 | 10.4653 | 0 | 0.00011824 | 0
0.97063 | 10.4754 | 0 | 0.00011552 | 0
0.97155 | 10.4853 | 0 | 0.00011301 | 0
0.97245 | 10.495 | 0 | 0.00011044 | 0
0.97332 | 10.5044 | 0 | 0.00010743 | 0
0.97417 | 10.5136 | 0 | 0.0001054 | 0
0.975 | 10.5226 | 0 | 0.00010266 | 0
0.97582 | 10.5313 | 0 | 0.00010004 | 0
0.97661 | 10.5399 | 0 | 9.7642e-05 | 0
0.97738 | 10.5482 | 0 | 9.5532e-05 | 0
0.97814 | 10.5564 | 0 | 9.3378e-05 | 0
0.97888 | 10.5644 | 0 | 9.1217e-05 | 0
0.9796 | 10.5722 | 0 | 8.9126e-05 | 0
0.98031 | 10.5798 | 0 | 8.7215e-05 | 0
0.981 | 10.5873 | 0 | 8.5159e-05 | 0
0.98167 | 10.5945 | 0 | 8.3152e-05 | 0
0.98233 | 10.6017 | 0 | 8.1315e-05 | 0
0.98297 | 10.6086 | 0 | 7.9356e-05 | 0
0.9836 | 10.6154 | 0 | 7.7401e-05 | 0
0.98421 | 10.622 | 0 | 7.5456e-05 | 0
0.98481 | 10.6284 | 0 | 7.3473e-05 | 0
0.98539 | 10.6347 | 0 | 7.1634e-05 | 0
0.98596 | 10.6408 | 0 | 6.965e-05 | 0
0.9865 | 10.6467 | 0 | 6.7629e-05 | 0
0.98704 | 10.6524 | 0 | 6.5825e-05 | 0
0.98756 | 10.658 | 0 | 6.3868e-05 | 0
0.98806 | 10.6635 | 0 | 6.2027e-05 | 0
0.98855 | 10.6687 | 0 | 6.0234e-05 | 0
0.98902 | 10.6738 | 0 | 5.8391e-05 | 0
0.98948 | 10.6788 | 0 | 5.6627e-05 | 0
0.98993 | 10.6836 | 0 | 5.5081e-05 | 0
0.99036 | 10.6883 | 0 | 5.3495e-05 | 0
0.99078 | 10.6929 | 0 | 5.2042e-05 | 0
0.99119 | 10.6973 | 0 | 5.072e-05 | 0
0.99159 | 10.7016 | 0 | 4.9467e-05 | 0
0.99198 | 10.7058 | 0 | 4.8078e-05 | 0
0.99236 | 10.7099 | 0 | 4.6793e-05 | 0
0.99273 | 10.7139 | 0 | 4.5606e-05 | 0
0.99309 | 10.7178 | 0 | 4.4288e-05 | 0
0.99344 | 10.7216 | 0 | 4.3133e-05 | 0
0.99378 | 10.7252 | 0 | 4.2003e-05 | 0
0.99411 | 10.7288 | 0 | 4.0856e-05 | 0
0.99444 | 10.7323 | 0 | 3.9802e-05 | 0
0.99475 | 10.7357 | 0 | 3.8748e-05 | 0
0.99506 | 10.739 | 0 | 3.7776e-05 | 0
0.99535 | 10.7422 | 0 | 3.6766e-05 | 0
0.99564 | 10.7453 | 0 | 3.5865e-05 | 0
0.99593 | 10.7484 | 0 | 3.503e-05 | 0
0.99621 | 10.7514 | 0 | 3.4139e-05 | 0
0.99648 | 10.7543 | 0 | 3.3369e-05 | 0
0.99674 | 10.7572 | 0 | 3.251e-05 | 0
0.997 | 10.7599 | 0 | 3.159e-05 | 0
0.99724 | 10.7626 | 0 | 3.0658e-05 | 0
0.99749 | 10.7652 | 0 | 2.9777e-05 | 0
0.99772 | 10.7677 | 0 | 2.884e-05 | 0
0.99795 | 10.7702 | 0 | 2.7984e-05 | 0
0.99817 | 10.7726 | 0 | 2.7166e-05 | 0
0.99838 | 10.7749 | 0 | 2.6303e-05 | 0
0.99859 | 10.7771 | 0 | 2.5345e-05 | 0
0.99878 | 10.7792 | 0 | 2.4509e-05 | 0
0.99898 | 10.7813 | 0 | 2.3837e-05 | 0
0.99917 | 10.7833 | 0 | 2.3166e-05 | 0
0.99935 | 10.7853 | 0 | 2.2409e-05 | 0
0.99952 | 10.7872 | 0 | 2.1781e-05 | 0
0.9997 | 10.7891 | 0 | 2.1215e-05 | 0
0.99986 | 10.7909 | 0 | 2.0722e-05 | 0
1 | 10.7923 | 0 | 1.6827e-05 | 0
0.99812 | 10.7923 | 0.018867 | 0 | 0.00021562
0.99624 | 10.7923 | 0.037718 | 0 | 0.00021545
0.99437 | 10.7923 | 0.056494 | 0 | 0.00021458
0.9925 | 10.7923 | 0.075259 | 0 | 0.00021446
0.99063 | 10.7923 | 0.094019 | 0 | 0.0002144
0.98877 | 10.7923 | 0.11274 | 0 | 0.00021392
0.9869 | 10.7923 | 0.13143 | 0 | 0.00021369
0.98504 | 10.7923 | 0.15011 | 0 | 0.00021347
0.98318 | 10.7923 | 0.16878 | 0 | 0.00021328
0.98133 | 10.7923 | 0.18741 | 0 | 0.00021299
0.97947 | 10.7923 | 0.20604 | 0 | 0.00021292
0.97762 | 10.7923 | 0.22466 | 0 | 0.00021277
0.97576 | 10.7923 | 0.24325 | 0 | 0.00021251
0.97391 | 10.7923 | 0.26185 | 0 | 0.00021249
0.97206 | 10.7923 | 0.28044 | 0 | 0.00021244
0.97021 | 10.7923 | 0.299 | 0 | 0.00021222
0.96836 | 10.7923 | 0.31755 | 0 | 0.000212
0.96651 | 10.7923 | 0.3361 | 0 | 0.000212
0.96466 | 10.7923 | 0.35465 | 0 | 0.000212
0.96282 | 10.7923 | 0.37319 | 0 | 0.00021179
0.96097 | 10.7923 | 0.3917 | 0 | 0.00021159
0.95913 | 10.7923 | 0.41023 | 0 | 0.00021172
0.95729 | 10.7923 | 0.42872 | 0 | 0.00021141
0.95544 | 10.7923 | 0.44723 | 0 | 0.00021144
0.9536 | 10.7923 | 0.46572 | 0 | 0.00021136
0.95176 | 10.7923 | 0.48419 | 0 | 0.00021107
0.94991 | 10.7923 | 0.5027 | 0 | 0.00021154
0.94807 | 10.7923 | 0.52117 | 0 | 0.00021114
0.94623 | 10.7923 | 0.53964 | 0 | 0.00021109
0.9444 | 10.7923 | 0.55809 | 0 | 0.00021079
0.94256 | 10.7923 | 0.57656 | 0 | 0.00021117
0.94072 | 10.7923 | 0.59502 | 0 | 0.00021089
0.93888 | 10.7923 | 0.61346 | 0 | 0.00021073
0.93704 | 10.7923 | 0.63189 | 0 | 0.00021068
0.93521 | 10.7923 | 0.65034 | 0 | 0.00021084
0.93337 | 10.7923 | 0.66877 | 0 | 0.00021069
0.93153 | 10.7923 | 0.6872 | 0 | 0.00021064
0.9297 | 10.7923 | 0.70564 | 0 | 0.0002107
0.92786 | 10.7923 | 0.72405 | 0 | 0.00021044
0.92603 | 10.7923 | 0.74247 | 0 | 0.0002105
0.92419 | 10.7923 | 0.76089 | 0 | 0.00021046
0.92236 | 10.7923 | 0.7793 | 0 | 0.00021041
0.92052 | 10.7923 | 0.7977 | 0 | 0.00021026
0.91869 | 10.7923 | 0.81612 | 0 | 0.00021055
0.91686 | 10.7923 | 0.83451 | 0 | 0.00021019
0.91502 | 10.7923 | 0.8529 | 0 | 0.00021013
0.91319 | 10.7923 | 0.8713 | 0 | 0.00021032
0.91136 | 10.7923 | 0.88969 | 0 | 0.00021017
0.90952 | 10.7923 | 0.90809 | 0 | 0.00021024
0.90769 | 10.7923 | 0.92647 | 0 | 0.00021009
0.90586 | 10.7923 | 0.94483 | 0 | 0.00020984
0.90403 | 10.7923 | 0.96323 | 0 | 0.00021025
0.9022 | 10.7923 | 0.9816 | 0 | 0.00021
0.90037 | 10.7923 | 0.99995 | 0 | 0.0002097
0.89854 | 10.7923 | 1.0183 | 0 | 0.00021012
0.89671 | 10.7923 | 1.0367 | 0 | 0.00020975
0.89488 | 10.7923 | 1.055 | 0 | 0.00020982
0.89305 | 10.7923 | 1.0734 | 0 | 0.00020991
0.89122 | 10.7923 | 1.0918 | 0 | 0.00020979
0.8894 | 10.7923 | 1.1101 | 0 | 0.00020961
0.88757 | 10.7923 | 1.1285 | 0 | 0.00020958
0.88574 | 10.7923 | 1.1468 | 0 | 0.00020985
0.88391 | 10.7923 | 1.1651 | 0 | 0.0002095
0.88209 | 10.7923 | 1.1835 | 0 | 0.00020957
0.88026 | 10.7923 | 1.2018 | 0 | 0.00020965
0.87843 | 10.7923 | 1.2201 | 0 | 0.00020939
0.87661 | 10.7923 | 1.2385 | 0 | 0.00020945
0.87478 | 10.7923 | 1.2568 | 0 | 0.00020931
0.87296 | 10.7923 | 1.2751 | 0 | 0.00020959
0.87113 | 10.7923 | 1.2934 | 0 | 0.00020922
0.86931 | 10.7923 | 1.3117 | 0 | 0.00020929
0.86748 | 10.7923 | 1.3301 | 0 | 0.00020925
0.86566 | 10.7923 | 1.3484 | 0 | 0.0002092
0.86384 | 10.7923 | 1.3667 | 0 | 0.00020904
0.86201 | 10.7923 | 1.385 | 0 | 0.00020921
0.86019 | 10.7923 | 1.4033 | 0 | 0.00020905
0.85837 | 10.7923 | 1.4215 | 0 | 0.00020901
0.85655 | 10.7923 | 1.4398 | 0 | 0.00020907
0.85472 | 10.7923 | 1.4581 | 0 | 0.0002089
0.85291 | 10.7923 | 1.4764 | 0 | 0.00020862
0.85108 | 10.7923 | 1.4947 | 0 | 0.000209
0.84926 | 10.7923 | 1.5129 | 0 | 0.00020863
0.84744 | 10.7923 | 1.5312 | 0 | 0.00020879
0.84563 | 10.7923 | 1.5494 | 0 | 0.00020852
0.84381 | 10.7923 | 1.5677 | 0 | 0.00020858
0.84199 | 10.7923 | 1.5859 | 0 | 0.00020862
0.84017 | 10.7923 | 1.6042 | 0 | 0.00020835
0.83836 | 10.7923 | 1.6224 | 0 | 0.00020838
0.83654 | 10.7923 | 1.6406 | 0 | 0.00020843
0.83473 | 10.7923 | 1.6588 | 0 | 0.00020814
0.83291 | 10.7923 | 1.6771 | 0 | 0.00020808
0.83109 | 10.7923 | 1.6953 | 0 | 0.00020832
0.82928 | 10.7923 | 1.7135 | 0 | 0.00020793
0.82747 | 10.7923 | 1.7317 | 0 | 0.00020786
0.82566 | 10.7923 | 1.7499 | 0 | 0.0002081
0.82385 | 10.7923 | 1.768 | 0 | 0.0002077
0.82203 | 10.7923 | 1.7862 | 0 | 0.00020773
0.82023 | 10.7923 | 1.8044 | 0 | 0.00020754
0.81841 | 10.7923 | 1.8226 | 0 | 0.00020778
0.81661 | 10.7923 | 1.8407 | 0 | 0.00020737
0.8148 | 10.7923 | 1.8589 | 0 | 0.00020751
0.81299 | 10.7923 | 1.877 | 0 | 0.0002073
0.81118 | 10.7923 | 1.8951 | 0 | 0.00020711
0.80938 | 10.7923 | 1.9132 | 0 | 0.00020702
0.80757 | 10.7923 | 1.9314 | 0 | 0.00020725
0.80577 | 10.7923 | 1.9495 | 0 | 0.00020684
0.80397 | 10.7923 | 1.9676 | 0 | 0.00020686
0.80216 | 10.7923 | 1.9857 | 0 | 0.00020687
0.80036 | 10.7923 | 2.0038 | 0 | 0.00020667
0.79856 | 10.7923 | 2.0218 | 0 | 0.00020647
0.79676 | 10.7923 | 2.0399 | 0 | 0.00020638
0.79496 | 10.7923 | 2.058 | 0 | 0.00020661
0.79316 | 10.7923 | 2.076 | 0 | 0.00020619
0.79137 | 10.7923 | 2.094 | 0 | 0.0002061
0.78957 | 10.7923 | 2.1121 | 0 | 0.00020632
0.78777 | 10.7923 | 2.1301 | 0 | 0.0002059
0.78598 | 10.7923 | 2.1481 | 0 | 0.00020591
0.78418 | 10.7923 | 2.1661 | 0 | 0.00020571
0.78239 | 10.7923 | 2.1841 | 0 | 0.00020593
0.7806 | 10.7923 | 2.2021 | 0 | 0.00020551
0.77881 | 10.7923 | 2.2201 | 0 | 0.00020541
0.77701 | 10.7923 | 2.2381 | 0 | 0.00020562
0.77522 | 10.7923 | 2.256 | 0 | 0.00020521
0.77344 | 10.7923 | 2.274 | 0 | 0.0002051
0.77165 | 10.7923 | 2.292 | 0 | 0.00020532
0.76986 | 10.7923 | 2.3099 | 0 | 0.0002049
0.76807 | 10.7923 | 2.3278 | 0 | 0.0002049
0.76629 | 10.7923 | 2.3457 | 0 | 0.00020492
0.7645 | 10.7923 | 2.3637 | 0 | 0.00020469
0.76272 | 10.7923 | 2.3815 | 0 | 0.00020449
0.76094 | 10.7923 | 2.3994 | 0 | 0.0002044
0.75915 | 10.7923 | 2.4173 | 0 | 0.00020461
0.75737 | 10.7923 | 2.4352 | 0 | 0.0002042
0.7556 | 10.7923 | 2.4531 | 0 | 0.00020411
0.75381 | 10.7923 | 2.4709 | 0 | 0.00020432
0.75204 | 10.7923 | 2.4888 | 0 | 0.00020391
0.75026 | 10.7923 | 2.5066 | 0 | 0.00020392
0.74848 | 10.7923 | 2.5245 | 0 | 0.00020392
0.7467 | 10.7923 | 2.5423 | 0 | 0.00020373
0.74493 | 10.7923 | 2.5601 | 0 | 0.00020341
0.74316 | 10.7923 | 2.5779 | 0 | 0.00020353
0.74138 | 10.7923 | 2.5957 | 0 | 0.00020354
0.73961 | 10.7923 | 2.6135 | 0 | 0.00020334
0.73784 | 10.7923 | 2.6313 | 0 | 0.00020314
0.73607 | 10.7923 | 2.6491 | 0 | 0.00020336
0.7343 | 10.7923 | 2.6668 | 0 | 0.00020294
0.73253 | 10.7923 | 2.6846 | 0 | 0.00020296
0.73076 | 10.7923 | 2.7023 | 0 | 0.00020297
0.72899 | 10.7923 | 2.7201 | 0 | 0.00020277
0.72722 | 10.7923 | 2.7378 | 0 | 0.00020258
0.72546 | 10.7923 | 2.7555 | 0 | 0.00020248
0.72369 | 10.7923 | 2.7733 | 0 | 0.00020271
0.72193 | 10.7923 | 2.791 | 0 | 0.0002023
0.72017 | 10.7923 | 2.8087 | 0 | 0.00020221
0.7184 | 10.7923 | 2.8264 | 0 | 0.00020244
0.71664 | 10.7923 | 2.8441 | 0 | 0.00020204
0.71488 | 10.7923 | 2.8617 | 0 | 0.00020206
0.71312 | 10.7923 | 2.8794 | 0 | 0.00020207
0.71136 | 10.7923 | 2.8971 | 0 | 0.00020189
0.7096 | 10.7923 | 2.9147 | 0 | 0.00020169
0.70784 | 10.7923 | 2.9324 | 0 | 0.00020181
0.70608 | 10.7923 | 2.95 | 0 | 0.00020153
0.70432 | 10.7923 | 2.9677 | 0 | 0.00020165
0.70257 | 10.7923 | 2.9853 | 0 | 0.00020146
0.70081 | 10.7923 | 3.0029 | 0 | 0.00020128
0.69906 | 10.7923 | 3.0205 | 0 | 0.00020141
0.6973 | 10.7923 | 3.0381 | 0 | 0.00020101
0.69555 | 10.7923 | 3.0557 | 0 | 0.00020115
0.6938 | 10.7923 | 3.0733 | 0 | 0.00020106
0.69204 | 10.7923 | 3.0909 | 0 | 0.00020118
0.69029 | 10.7923 | 3.1085 | 0 | 0.00020079
0.68854 | 10.7923 | 3.1261 | 0 | 0.00020092
0.68679 | 10.7923 | 3.1436 | 0 | 0.00020075
0.68504 | 10.7923 | 3.1612 | 0 | 0.00020055
0.68329 | 10.7923 | 3.1787 | 0 | 0.00020067
0.68155 | 10.7923 | 3.1963 | 0 | 0.00020049
0.6798 | 10.7923 | 3.2138 | 0 | 0.00020041
0.67805 | 10.7923 | 3.2313 | 0 | 0.00020024
0.67631 | 10.7923 | 3.2489 | 0 | 0.00020036
0.67456 | 10.7923 | 3.2664 | 0 | 0.00020009
0.67282 | 10.7923 | 3.2839 | 0 | 0.00020011
0.67108 | 10.7923 | 3.3014 | 0 | 0.00019993
0.66933 | 10.7923 | 3.3189 | 0 | 0.00020006
0.66759 | 10.7923 | 3.3364 | 0 | 0.00019988
0.66585 | 10.7923 | 3.3538 | 0 | 0.0001997
0.6641 | 10.7923 | 3.3713 | 0 | 0.00019994
0.66236 | 10.7923 | 3.3888 | 0 | 0.00019955
0.66063 | 10.7923 | 3.4063 | 0 | 0.00019948
0.65889 | 10.7923 | 3.4237 | 0 | 0.00019953
0.65715 | 10.7923 | 3.4412 | 0 | 0.00019962
0.65541 | 10.7923 | 3.4586 | 0 | 0.00019915
0.65367 | 10.7923 | 3.4761 | 0 | 0.00019929
0.65193 | 10.7923 | 3.4935 | 0 | 0.00019932
0.6502 | 10.7923 | 3.5109 | 0 | 0.00019916
0.64846 | 10.7923 | 3.5283 | 0 | 0.00019916
0.64673 | 10.7923 | 3.5458 | 0 | 0.00019899
0.64499 | 10.7923 | 3.5632 | 0 | 0.0001988
0.64326 | 10.7923 | 3.5806 | 0 | 0.00019894
0.64153 | 10.7923 | 3.5979 | 0 | 0.00019877
0.6398 | 10.7923 | 3.6153 | 0 | 0.00019848
0.63807 | 10.7923 | 3.6327 | 0 | 0.0001986
0.63633 | 10.7923 | 3.6501 | 0 | 0.00019874
0.6346 | 10.7923 | 3.6674 | 0 | 0.00019835
0.63287 | 10.7923 | 3.6848 | 0 | 0.00019837
0.63114 | 10.7923 | 3.7022 | 0 | 0.0001984
0.62942 | 10.7923 | 3.7195 | 0 | 0.00019812
0.62769 | 10.7923 | 3.7368 | 0 | 0.00019815
0.62596 | 10.7923 | 3.7542 | 0 | 0.00019817
0.62424 | 10.7923 | 3.7715 | 0 | 0.000198
0.62251 | 10.7923 | 3.7888 | 0 | 0.00019782
0.62079 | 10.7923 | 3.8061 | 0 | 0.00019774
0.61906 | 10.7923 | 3.8234 | 0 | 0.00019797
0.61734 | 10.7923 | 3.8407 | 0 | 0.00019758
0.61562 | 10.7923 | 3.858 | 0 | 0.00019751
0.61389 | 10.7923 | 3.8753 | 0 | 0.00019774
0.61217 | 10.7923 | 3.8926 | 0 | 0.00019736
0.61045 | 10.7923 | 3.9098 | 0 | 0.00019737
0.60873 | 10.7923 | 3.9271 | 0 | 0.00019719
0.60701 | 10.7923 | 3.9444 | 0 | 0.00019743
0.60529 | 10.7923 | 3.9616 | 0 | 0.00019703
0.60358 | 10.7923 | 3.9789 | 0 | 0.00019716
0.60186 | 10.7923 | 3.9961 | 0 | 0.00019698
0.60014 | 10.7923 | 4.0133 | 0 | 0.00019679
0.59843 | 10.7923 | 4.0305 | 0 | 0.00019681
0.59671 | 10.7923 | 4.0477 | 0 | 0.00019673
0.595 | 10.7923 | 4.065 | 0 | 0.00019665
0.59328 | 10.7923 | 4.0822 | 0 | 0.00019666
0.59157 | 10.7923 | 4.0994 | 0 | 0.00019648
0.58986 | 10.7923 | 4.1165 | 0 | 0.0001963
0.58815 | 10.7923 | 4.1337 | 0 | 0.00019641
0.58644 | 10.7923 | 4.1509 | 0 | 0.00019622
0.58473 | 10.7923 | 4.168 | 0 | 0.00019604
0.58302 | 10.7923 | 4.1852 | 0 | 0.00019606
0.58131 | 10.7923 | 4.2024 | 0 | 0.00019608
0.5796 | 10.7923 | 4.2195 | 0 | 0.00019571
0.5779 | 10.7923 | 4.2366 | 0 | 0.00019579
0.57619 | 10.7923 | 4.2537 | 0 | 0.00019582
0.57448 | 10.7923 | 4.2709 | 0 | 0.00019564
0.57278 | 10.7923 | 4.288 | 0 | 0.00019555
0.57107 | 10.7923 | 4.3051 | 0 | 0.00019547
0.56937 | 10.7923 | 4.3222 | 0 | 0.0001954
0.56767 | 10.7923 | 4.3393 | 0 | 0.00019541
0.56597 | 10.7923 | 4.3563 | 0 | 0.00019511
0.56427 | 10.7923 | 4.3734 | 0 | 0.00019514
0.56256 | 10.7923 | 4.3905 | 0 | 0.00019515
0.56087 | 10.7923 | 4.4075 | 0 | 0.00019466
0.55917 | 10.7923 | 4.4246 | 0 | 0.00019509
0.55747 | 10.7923 | 4.4417 | 0 | 0.00019489
0.55577 | 10.7923 | 4.4587 | 0 | 0.0001947
0.55407 | 10.7923 | 4.4757 | 0 | 0.00019451
0.55238 | 10.7923 | 4.4927 | 0 | 0.00019443
0.55068 | 10.7923 | 4.5098 | 0 | 0.00019464
0.54899 | 10.7923 | 4.5267 | 0 | 0.00019426
0.54729 | 10.7923 | 4.5438 | 0 | 0.00019437
0.5456 | 10.7923 | 4.5607 | 0 | 0.00019407
0.54391 | 10.7923 | 4.5777 | 0 | 0.00019399
0.54222 | 10.7923 | 4.5947 | 0 | 0.00019421
0.54053 | 10.7923 | 4.6117 | 0 | 0.00019382
0.53884 | 10.7923 | 4.6286 | 0 | 0.00019384
0.53715 | 10.7923 | 4.6456 | 0 | 0.00019385
0.53546 | 10.7923 | 4.6625 | 0 | 0.00019367
0.53377 | 10.7923 | 4.6795 | 0 | 0.00019347
0.53209 | 10.7923 | 4.6964 | 0 | 0.00019349
0.5304 | 10.7923 | 4.7133 | 0 | 0.0001934
0.52872 | 10.7923 | 4.7302 | 0 | 0.00019331
0.52703 | 10.7923 | 4.7471 | 0 | 0.00019333
0.52535 | 10.7923 | 4.764 | 0 | 0.00019304
0.52366 | 10.7923 | 4.7809 | 0 | 0.00019305
0.52198 | 10.7923 | 4.7978 | 0 | 0.00019286
0.5203 | 10.7923 | 4.8147 | 0 | 0.00019308
0.51862 | 10.7923 | 4.8316 | 0 | 0.00019279
0.51694 | 10.7923 | 4.8484 | 0 | 0.0001926
0.51526 | 10.7923 | 4.8653 | 0 | 0.00019273
0.51358 | 10.7923 | 4.8821 | 0 | 0.00019243
0.5119 | 10.7923 | 4.899 | 0 | 0.00019253
0.51023 | 10.7923 | 4.9158 | 0 | 0.00019225
0.50855 | 10.7923 | 4.9326 | 0 | 0.00019227
0.50688 | 10.7923 | 4.9494 | 0 | 0.00019218
0.5052 | 10.7923 | 4.9662 | 0 | 0.00019218
0.50353 | 10.7923 | 4.983 | 0 | 0.000192
0.50186 | 10.7923 | 4.9998 | 0 | 0.00019171
0.50018 | 10.7923 | 5.0166 | 0 | 0.00019203
0.49851 | 10.7923 | 5.0334 | 0 | 0.00019165
0.49684 | 10.7923 | 5.0502 | 0 | 0.00019176
0.49517 | 10.7923 | 5.0669 | 0 | 0.00019157
0.4935 | 10.7923 | 5.0837 | 0 | 0.00019139
0.49183 | 10.7923 | 5.1004 | 0 | 0.00019141
0.49016 | 10.7923 | 5.1172 | 0 | 0.00019142
0.4885 | 10.7923 | 5.1339 | 0 | 0.00019124
0.48683 | 10.7923 | 5.1506 | 0 | 0.00019106
0.48517 | 10.7923 | 5.1673 | 0 | 0.00019097
0.4835 | 10.7923 | 5.1841 | 0 | 0.00019118
0.48184 | 10.7923 | 5.2008 | 0 | 0.0001908
0.48017 | 10.7923 | 5.2174 | 0 | 0.00019072
0.47851 | 10.7923 | 5.2342 | 0 | 0.00019094
0.47685 | 10.7923 | 5.2508 | 0 | 0.00019056
0.47519 | 10.7923 | 5.2675 | 0 | 0.00019056
0.47352 | 10.7923 | 5.2842 | 0 | 0.00019048
0.47186 | 10.7923 | 5.3008 | 0 | 0.0001905
0.4702 | 10.7923 | 5.3175 | 0 | 0.00019032
0.46855 | 10.7923 | 5.3341 | 0 | 0.00019004
0.46689 | 10.7923 | 5.3508 | 0 | 0.00019026
0.46523 | 10.7923 | 5.3674 | 0 | 0.00018997
0.46358 | 10.7923 | 5.384 | 0 | 0.00018989
0.46192 | 10.7923 | 5.4006 | 0 | 0.00019011
0.46027 | 10.7923 | 5.4172 | 0 | 0.00018974
0.45861 | 10.7923 | 5.4338 | 0 | 0.00018976
0.45696 | 10.7923 | 5.4505 | 0 | 0.00018978
0.4553 | 10.7923 | 5.467 | 0 | 0.00018961
0.45365 | 10.7923 | 5.4836 | 0 | 0.00018943
0.452 | 10.7923 | 5.5002 | 0 | 0.00018935
0.45035 | 10.7923 | 5.5168 | 0 | 0.00018958
0.4487 | 10.7923 | 5.5333 | 0 | 0.00018921
0.44705 | 10.7923 | 5.5499 | 0 | 0.00018913
0.4454 | 10.7923 | 5.5664 | 0 | 0.00018934
0.44375 | 10.7923 | 5.583 | 0 | 0.00018899
0.44211 | 10.7923 | 5.5995 | 0 | 0.00018903
0.44046 | 10.7923 | 5.6161 | 0 | 0.00018901
0.43881 | 10.7923 | 5.6326 | 0 | 0.00018886
0.43717 | 10.7923 | 5.6491 | 0 | 0.00018869
0.43552 | 10.7923 | 5.6656 | 0 | 0.00018863
0.43388 | 10.7923 | 5.6821 | 0 | 0.00018884
0.43223 | 10.7923 | 5.6986 | 0 | 0.00018848
0.43059 | 10.7923 | 5.7151 | 0 | 0.0001885
0.42895 | 10.7923 | 5.7316 | 0 | 0.00018853
0.4273 | 10.7923 | 5.7481 | 0 | 0.00018827
0.42566 | 10.7923 | 5.7646 | 0 | 0.0001883
0.42402 | 10.7923 | 5.781 | 0 | 0.00018833
0.42238 | 10.7923 | 5.7975 | 0 | 0.00018807
0.42074 | 10.7923 | 5.814 | 0 | 0.0001881
0.4191 | 10.7923 | 5.8304 | 0 | 0.00018814
0.41746 | 10.7923 | 5.8469 | 0 | 0.00018787
0.41583 | 10.7923 | 5.8633 | 0 | 0.0001878
0.41419 | 10.7923 | 5.8797 | 0 | 0.00018783
0.41255 | 10.7923 | 5.8962 | 0 | 0.00018789
0.41091 | 10.7923 | 5.9126 | 0 | 0.0001877
0.40928 | 10.7923 | 5.929 | 0 | 0.00018756
0.40764 | 10.7923 | 5.9454 | 0 | 0.00018769
0.40601 | 10.7923 | 5.9618 | 0 | 0.00018754
0.40437 | 10.7923 | 5.9782 | 0 | 0.00018757
0.40274 | 10.7923 | 5.9946 | 0 | 0.00018741
0.40111 | 10.7923 | 6.011 | 0 | 0.00018734
0.39947 | 10.7923 | 6.0274 | 0 | 0.00018729
0.39784 | 10.7923 | 6.0438 | 0 | 0.00018722
0.39621 | 10.7923 | 6.0602 | 0 | 0.00018706
0.39458 | 10.7923 | 6.0765 | 0 | 0.0001871
0.39295 | 10.7923 | 6.0929 | 0 | 0.00018704
0.39132 | 10.7923 | 6.1093 | 0 | 0.00018699
0.38969 | 10.7923 | 6.1256 | 0 | 0.00018702
0.38806 | 10.7923 | 6.142 | 0 | 0.00018686
0.38643 | 10.7923 | 6.1583 | 0 | 0.0001868
0.3848 | 10.7923 | 6.1747 | 0 | 0.00018676
0.38318 | 10.7923 | 6.191 | 0 | 0.00018659
0.38155 | 10.7923 | 6.2073 | 0 | 0.00018664
0.37992 | 10.7923 | 6.2237 | 0 | 0.00018668
0.37829 | 10.7923 | 6.24 | 0 | 0.00018653
0.37667 | 10.7923 | 6.2563 | 0 | 0.00018638
0.37504 | 10.7923 | 6.2726 | 0 | 0.00018642
0.37342 | 10.7923 | 6.2889 | 0 | 0.00018646
0.37179 | 10.7923 | 6.3052 | 0 | 0.00018631
0.37017 | 10.7923 | 6.3215 | 0 | 0.00018606
0.36855 | 10.7923 | 6.3378 | 0 | 0.0001864
0.36693 | 10.7923 | 6.3541 | 0 | 0.00018606
0.3653 | 10.7923 | 6.3704 | 0 | 0.00018619
0.36368 | 10.7923 | 6.3867 | 0 | 0.00018604
0.36206 | 10.7923 | 6.4029 | 0 | 0.00018579
0.36044 | 10.7923 | 6.4192 | 0 | 0.00018614
0.35882 | 10.7923 | 6.4355 | 0 | 0.00018578
0.3572 | 10.7923 | 6.4517 | 0 | 0.00018582
0.35558 | 10.7923 | 6.468 | 0 | 0.00018567
0.35396 | 10.7923 | 6.4842 | 0 | 0.00018592
0.35234 | 10.7923 | 6.5005 | 0 | 0.00018557
0.35072 | 10.7923 | 6.5167 | 0 | 0.00018561
0.3491 | 10.7923 | 6.533 | 0 | 0.00018567
0.34749 | 10.7923 | 6.5492 | 0 | 0.00018541
0.34587 | 10.7923 | 6.5654 | 0 | 0.00018537
0.34426 | 10.7923 | 6.5816 | 0 | 0.0001854
0.34264 | 10.7923 | 6.5979 | 0 | 0.00018545
0.34102 | 10.7923 | 6.6141 | 0 | 0.00018531
0.33941 | 10.7923 | 6.6303 | 0 | 0.00018536
0.33779 | 10.7923 | 6.6465 | 0 | 0.00018518
0.33618 | 10.7923 | 6.6627 | 0 | 0.00018505
0.33457 | 10.7923 | 6.6789 | 0 | 0.000185
0.33295 | 10.7923 | 6.6951 | 0 | 0.00018524
0.33134 | 10.7923 | 6.7113 | 0 | 0.000185
0.32973 | 10.7923 | 6.7274 | 0 | 0.00018485
0.32812 | 10.7923 | 6.7436 | 0 | 0.000185
0.3265 | 10.7923 | 6.7598 | 0 | 0.00018475
0.32489 | 10.7923 | 6.776 | 0 | 0.0001848
0.32328 | 10.7923 | 6.7921 | 0 | 0.00018465
0.32167 | 10.7923 | 6.8083 | 0 | 0.00018489
0.32006 | 10.7923 | 6.8244 | 0 | 0.00018456
0.31845 | 10.7923 | 6.8406 | 0 | 0.0001846
0.31684 | 10.7923 | 6.8568 | 0 | 0.00018465
0.31524 | 10.7923 | 6.8729 | 0 | 0.0001844
0.31363 | 10.7923 | 6.889 | 0 | 0.00018434
0.31202 | 10.7923 | 6.9052 | 0 | 0.00018438
0.31041 | 10.7923 | 6.9213 | 0 | 0.00018444
0.30881 | 10.7923 | 6.9374 | 0 | 0.00018429
0.3072 | 10.7923 | 6.9535 | 0 | 0.00018434
0.30559 | 10.7923 | 6.9697 | 0 | 0.00018419
0.30399 | 10.7923 | 6.9858 | 0 | 0.00018405
0.30239 | 10.7923 | 7.0019 | 0 | 0.00018399
0.30078 | 10.7923 | 7.018 | 0 | 0.00018423
0.29918 | 10.7923 | 7.0341 | 0 | 0.00018399
0.29757 | 10.7923 | 7.0502 | 0 | 0.00018384
0.29597 | 10.7923 | 7.0663 | 0 | 0.00018427
0.29437 | 10.7923 | 7.0824 | 0 | 0.00018375
0.29276 | 10.7923 | 7.0984 | 0 | 0.00018369
0.29116 | 10.7923 | 7.1145 | 0 | 0.00018392
0.28956 | 10.7923 | 7.1306 | 0 | 0.00018358
0.28796 | 10.7923 | 7.1467 | 0 | 0.00018354
0.28636 | 10.7923 | 7.1627 | 0 | 0.00018378
0.28476 | 10.7923 | 7.1788 | 0 | 0.00018344
0.28316 | 10.7923 | 7.1948 | 0 | 0.00018339
0.28156 | 10.7923 | 7.2109 | 0 | 0.00018362
0.27996 | 10.7923 | 7.2269 | 0 | 0.00018319
0.27836 | 10.7923 | 7.243 | 0 | 0.00018353
0.27677 | 10.7923 | 7.259 | 0 | 0.00018318
0.27517 | 10.7923 | 7.2751 | 0 | 0.00018322
0.27357 | 10.7923 | 7.2911 | 0 | 0.00018326
0.27197 | 10.7923 | 7.3071 | 0 | 0.00018312
0.27038 | 10.7923 | 7.3231 | 0 | 0.00018297
0.26878 | 10.7923 | 7.3391 | 0 | 0.0001831
0.26719 | 10.7923 | 7.3551 | 0 | 0.00018286
0.26559 | 10.7923 | 7.3711 | 0 | 0.00018289
0.264 | 10.7923 | 7.3872 | 0 | 0.00018295
0.26241 | 10.7923 | 7.4032 | 0 | 0.0001828
0.26081 | 10.7923 | 7.4191 | 0 | 0.00018264
0.25922 | 10.7923 | 7.4351 | 0 | 0.00018279
0.25763 | 10.7923 | 7.4511 | 0 | 0.00018253
0.25604 | 10.7923 | 7.4671 | 0 | 0.0001826
0.25445 | 10.7923 | 7.483 | 0 | 0.00018244
0.25285 | 10.7923 | 7.499 | 0 | 0.00018266
0.25126 | 10.7923 | 7.515 | 0 | 0.00018234
0.24967 | 10.7923 | 7.5309 | 0 | 0.00018237
0.24808 | 10.7923 | 7.5469 | 0 | 0.00018242
0.2465 | 10.7923 | 7.5628 | 0 | 0.00018217
0.24491 | 10.7923 | 7.5788 | 0 | 0.00018211
0.24332 | 10.7923 | 7.5947 | 0 | 0.00018233
0.24173 | 10.7923 | 7.6107 | 0 | 0.000182
0.24014 | 10.7923 | 7.6266 | 0 | 0.00018206
0.23856 | 10.7923 | 7.6425 | 0 | 0.00018206
0.23697 | 10.7923 | 7.6584 | 0 | 0.00018192
0.23539 | 10.7923 | 7.6743 | 0 | 0.00018177
0.2338 | 10.7923 | 7.6902 | 0 | 0.00018171
0.23222 | 10.7923 | 7.7061 | 0 | 0.00018175
0.23063 | 10.7923 | 7.722 | 0 | 0.00018178
0.22905 | 10.7923 | 7.7379 | 0 | 0.00018153
0.22747 | 10.7923 | 7.7538 | 0 | 0.00018156
0.22588 | 10.7923 | 7.7697 | 0 | 0.00018161
0.2243 | 10.7923 | 7.7856 | 0 | 0.00018146
0.22272 | 10.7923 | 7.8015 | 0 | 0.00018147
0.22114 | 10.7923 | 7.8173 | 0 | 0.00018132
0.21956 | 10.7923 | 7.8332 | 0 | 0.00018108
0.21798 | 10.7923 | 7.849 | 0 | 0.0001814
0.2164 | 10.7923 | 7.8649 | 0 | 0.00018105
0.21482 | 10.7923 | 7.8807 | 0 | 0.00018117
0.21325 | 10.7923 | 7.8966 | 0 | 0.00018092
0.21167 | 10.7923 | 7.9124 | 0 | 0.00018085
0.21009 | 10.7923 | 7.9282 | 0 | 0.00018107
0.20851 | 10.7923 | 7.9441 | 0 | 0.00018082
0.20694 | 10.7923 | 7.9599 | 0 | 0.00018066
0.20536 | 10.7923 | 7.9757 | 0 | 0.00018078
0.20379 | 10.7923 | 7.9915 | 0 | 0.00018052
0.20222 | 10.7923 | 8.0073 | 0 | 0.00018054
0.20064 | 10.7923 | 8.0231 | 0 | 0.00018057
0.19907 | 10.7923 | 8.0388 | 0 | 0.00018012
0.1975 | 10.7923 | 8.0546 | 0 | 0.00018052
0.19592 | 10.7923 | 8.0704 | 0 | 0.00018035
0.19435 | 10.7923 | 8.0862 | 0 | 0.00018009
0.19279 | 10.7923 | 8.1019 | 0 | 0.00018001
0.19122 | 10.7923 | 8.1177 | 0 | 0.00018005
0.18965 | 10.7923 | 8.1334 | 0 | 0.00018013
0.18808 | 10.7923 | 8.1492 | 0 | 0.00017979
0.18651 | 10.7923 | 8.1649 | 0 | 0.0001799
0.18494 | 10.7923 | 8.1806 | 0 | 0.00017973
0.18338 | 10.7923 | 8.1963 | 0 | 0.00017947
0.18181 | 10.7923 | 8.2121 | 0 | 0.00017957
0.18025 | 10.7923 | 8.2278 | 0 | 0.00017967
0.17868 | 10.7923 | 8.2435 | 0 | 0.00017941
0.17712 | 10.7923 | 8.2592 | 0 | 0.00017923
0.17556 | 10.7923 | 8.2748 | 0 | 0.00017933
0.174 | 10.7923 | 8.2905 | 0 | 0.00017907
0.17243 | 10.7923 | 8.3062 | 0 | 0.00017907
0.17087 | 10.7923 | 8.3218 | 0 | 0.00017889
0.16931 | 10.7923 | 8.3375 | 0 | 0.00017909
0.16776 | 10.7923 | 8.3531 | 0 | 0.00017871
0.1662 | 10.7923 | 8.3688 | 0 | 0.00017862
0.16464 | 10.7923 | 8.3844 | 0 | 0.00017882
0.16308 | 10.7923 | 8.4 | 0 | 0.00017844
0.16153 | 10.7923 | 8.4156 | 0 | 0.00017834
0.15997 | 10.7923 | 8.4312 | 0 | 0.00017836
0.15842 | 10.7923 | 8.4469 | 0 | 0.00017843
0.15687 | 10.7923 | 8.4624 | 0 | 0.00017806
0.15531 | 10.7923 | 8.478 | 0 | 0.00017816
0.15376 | 10.7923 | 8.4936 | 0 | 0.00017796
0.15221 | 10.7923 | 8.5091 | 0 | 0.00017768
0.15066 | 10.7923 | 8.5247 | 0 | 0.00017776
0.14911 | 10.7923 | 8.5403 | 0 | 0.00017784
0.14756 | 10.7923 | 8.5558 | 0 | 0.00017757
0.14602 | 10.7923 | 8.5713 | 0 | 0.00017737
0.14447 | 10.7923 | 8.5868 | 0 | 0.00017745
0.14293 | 10.7923 | 8.6023 | 0 | 0.00017717
0.14138 | 10.7923 | 8.6178 | 0 | 0.00017716
0.13984 | 10.7923 | 8.6333 | 0 | 0.00017698
0.1383 | 10.7923 | 8.6488 | 0 | 0.00017715
0.13675 | 10.7923 | 8.6643 | 0 | 0.00017677
0.13521 | 10.7923 | 8.6798 | 0 | 0.00017676
0.13367 | 10.7923 | 8.6952 | 0 | 0.00017675
0.13213 | 10.7923 | 8.7107 | 0 | 0.00017647
0.1306 | 10.7923 | 8.7261 | 0 | 0.00017647
0.12906 | 10.7923 | 8.7416 | 0 | 0.00017643
0.12752 | 10.7923 | 8.757 | 0 | 0.00017617
0.12599 | 10.7923 | 8.7724 | 0 | 0.00017615
0.12445 | 10.7923 | 8.7878 | 0 | 0.00017615
0.12292 | 10.7923 | 8.8032 | 0 | 0.00017596
0.12138 | 10.7923 | 8.8186 | 0 | 0.00017568
0.11985 | 10.7923 | 8.8339 | 0 | 0.00017577
0.11832 | 10.7923 | 8.8493 | 0 | 0.00017586
0.11679 | 10.7923 | 8.8647 | 0 | 0.00017549
0.11526 | 10.7923 | 8.88 | 0 | 0.0001754
0.11373 | 10.7923 | 8.8954 | 0 | 0.00017548
0.1122 | 10.7923 | 8.9107 | 0 | 0.00017529
0.11068 | 10.7923 | 8.926 | 0 | 0.00017512
0.10915 | 10.7923 | 8.9414 | 0 | 0.0001753
0.10762 | 10.7923 | 8.9567 | 0 | 0.00017494
0.1061 | 10.7923 | 8.972 | 0 | 0.00017494
0.10457 | 10.7923 | 8.9873 | 0 | 0.00017493
0.10305 | 10.7923 | 9.0026 | 0 | 0.00017465
0.10153 | 10.7923 | 9.0179 | 0 | 0.00017474
0.10001 | 10.7923 | 9.0331 | 0 | 0.00017427
0.098485 | 10.7923 | 9.0484 | 0 | 0.00017464
0.096965 | 10.7923 | 9.0637 | 0 | 0.00017435
0.095447 | 10.7923 | 9.0789 | 0 | 0.00017407
0.093927 | 10.7923 | 9.0941 | 0 | 0.00017433
0.092411 | 10.7923 | 9.1094 | 0 | 0.00017396
0.090895 | 10.7923 | 9.1246 | 0 | 0.00017384
0.08938 | 10.7923 | 9.1398 | 0 | 0.00017382
0.087869 | 10.7923 | 9.155 | 0 | 0.00017334
0.086351 | 10.7923 | 9.1702 | 0 | 0.00017413
0.084839 | 10.7923 | 9.1854 | 0 | 0.00017347
0.083327 | 10.7923 | 9.2005 | 0 | 0.00017335
0.081819 | 10.7923 | 9.2157 | 0 | 0.00017304
0.080308 | 10.7923 | 9.2308 | 0 | 0.00017328
0.0788 | 10.7923 | 9.246 | 0 | 0.00017297
0.077295 | 10.7923 | 9.2611 | 0 | 0.00017266
0.075788 | 10.7923 | 9.2762 | 0 | 0.00017288
0.074284 | 10.7923 | 9.2913 | 0 | 0.00017246
0.072782 | 10.7923 | 9.3064 | 0 | 0.00017232
0.071279 | 10.7923 | 9.3215 | 0 | 0.00017244
0.069779 | 10.7923 | 9.3365 | 0 | 0.00017202
0.068281 | 10.7923 | 9.3516 | 0 | 0.00017186
0.066782 | 10.7923 | 9.3666 | 0 | 0.00017197
0.065286 | 10.7923 | 9.3816 | 0 | 0.00017162
0.063792 | 10.7923 | 9.3966 | 0 | 0.00017134
0.062298 | 10.7923 | 9.4116 | 0 | 0.00017133
0.060807 | 10.7923 | 9.4266 | 0 | 0.00017104
0.059319 | 10.7923 | 9.4415 | 0 | 0.00017075
0.05783 | 10.7923 | 9.4564 | 0 | 0.00017071
0.056345 | 10.7923 | 9.4714 | 0 | 0.00017039
0.054862 | 10.7923 | 9.4862 | 0 | 0.00017006
0.053381 | 10.7923 | 9.5011 | 0 | 0.00016989
0.051902 | 10.7923 | 9.516 | 0 | 0.00016972
0.050425 | 10.7923 | 9.5308 | 0 | 0.00016934
0.048952 | 10.7923 | 9.5456 | 0 | 0.00016896
0.047482 | 10.7923 | 9.5603 | 0 | 0.00016865
0.046014 | 10.7923 | 9.575 | 0 | 0.00016839
0.044549 | 10.7923 | 9.5898 | 0 | 0.00016811
0.043088 | 10.7923 | 9.6044 | 0 | 0.00016755
0.041629 | 10.7923 | 9.6191 | 0 | 0.00016739
0.040175 | 10.7923 | 9.6337 | 0 | 0.00016677
0.038726 | 10.7923 | 9.6482 | 0 | 0.00016617
0.03728 | 10.7923 | 9.6627 | 0 | 0.00016584
0.03584 | 10.7923 | 9.6772 | 0 | 0.00016519
0.034406 | 10.7923 | 9.6916 | 0 | 0.00016451
0.032976 | 10.7923 | 9.7059 | 0 | 0.00016405
0.031553 | 10.7923 | 9.7202 | 0 | 0.00016322
0.030135 | 10.7923 | 9.7344 | 0 | 0.00016261
0.028723 | 10.7923 | 9.7486 | 0 | 0.00016195
0.027319 | 10.7923 | 9.7627 | 0 | 0.00016109
0.025923 | 10.7923 | 9.7767 | 0 | 0.00016018
0.024533 | 10.7923 | 9.7906 | 0 | 0.0001594
0.023151 | 10.7923 | 9.8045 | 0 | 0.00015855
0.021778 | 10.7923 | 9.8183 | 0 | 0.00015748
0.020415 | 10.7923 | 9.832 | 0 | 0.00015635
0.019062 | 10.7923 | 9.8456 | 0 | 0.00015523
0.017717 | 10.7923 | 9.8591 | 0 | 0.00015425
0.016386 | 10.7923 | 9.8724 | 0 | 0.0001527
0.015067 | 10.7923 | 9.8857 | 0 | 0.00015128
0.01376 | 10.7923 | 9.8988 | 0 | 0.00014995
0.012469 | 10.7923 | 9.9117 | 0 | 0.000148
0.011196 | 10.7923 | 9.9245 | 0 | 0.00014612
0.0099414 | 10.7923 | 9.9371 | 0 | 0.00014386
0.0087122 | 10.7923 | 9.9494 | 0 | 0.00014101
0.0075124 | 10.7923 | 9.9615 | 0 | 0.00013762
0.0063432 | 10.7923 | 9.9732 | 0 | 0.00013412
0.0060704 | 10.7923 | 9.976 | 0 | 3.1294e-05

## Backup
Technology | Specific Energy / Specific Power | Advantages | Limitations | Technology Development stage | Scale | CAPEX [Euro/kWh] | Fixed Operation and Maintenance Expenses ($/kW-yr) | Variable Operation and Maintenance Expenses ($/MWh) | Cycles to failure vs. depth of discharge | Self Discharge [%/a] | Capacity Factor | Lower Bound Efficiency | Upper Bound Efficiency | Avg Efficiendy | Lower Bound Specific Energy [Wh/l] | Upper Bound Specific Energy [Wh/l] | Lower Bound Power Density [W/l] | Upper Bound Power Density [W/l] | Lower Bound Specific Energy [Wh/kg] | Upper Bound Specific Energy [Wh/kg] | Lower Bound Power Density [W/kg] | Upper Bound Power Density [W/kg] | Charge Time [h] | Reference
Li-ion | 1 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Commercial | 891.1927 | 24.285 | 0 | - | 0,05-0,2 | 0.083 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 2 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Commercial | 1040.2752 | 28.3476 | 0 | - | 0,05-0,2 | 0.167 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 4 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Commercial | 1338.4528 | 36.4728 | 0 | - | 0,05-0,2 | 0.249 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 6 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Commercial | 1636.6255 | 44.598 | 0 | - | 0,05-0,2 | 0.332 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 8 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Commercial | 1934.7982 | 52.7233 | 0 | - | 0,05-0,2 | 0.415 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 2 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Utility | 649.2374 | 17.6917 | 0 | - | 0,05-0,2 | 0.083 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 4 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Utility | 1070.4241 | 29.1691 | 0 | - | 0,05-0,2 | 0.167 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 6 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Utility | 1491.6107 | 40.6464 | 0 | - | 0,05-0,2 | 0.249 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 8 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Utility | 1912.7974 | 52.1237 | 0 | - | 0,05-0,2 | 0.332 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093893 | https://atb.nrel.gov/electricity/2022/data
Li-ion | 10 | 1) Availability and high energy density 2) Fast responde time 3) High efficiency and low self-discharge rate | 1) High initial expense 2) Safety Issue depending on the type | Advanced | Utility | 2333.9841 | 63.6011 | 0 | - | 0,05-0,2 | 0.415 | 0.8 | 0.9 | 0.85 | - | - | - | - | 75 | 250 | 150 | 315 | - | https://doi.org/10.3390/en16093894 | https://atb.nrel.gov/electricity/2022/data
NaS | - | 1) High Efficiency 2) High life cycle | 1) High maintenance 2) High operating temperatures |  | Commerical | - | - | - | 4500 | - | - | - | - | 0.89 | 150 | 300 | 85 | 95 | - | - | - | - | - | https://doi.org/10.3390/en13184590
Lead-acid | - | 1) Cheap 2) Available | 1) Low energy density 2) Restricted cycling ability 3) High environmental impact | Mature | Commercial | 321.1009 | - | - | 300-3000 | - | - | 0.85 | 0.9 | 0.875 | 10 | 45 | - | - | - | - | - | - | - | https://doi.org/10.1016/j.est.2023.107811
Sodium-Sulfur | - |  |  |  | Commercial | 366.9725 | - | - | - | - | - | 0.75 | 0.85 | 0.8 | - | - | - | - | - | - | - | - | - | https://doi.org/10.1016/j.est.2023.107811
Vanadium redox flow | - |  |  |  | Commercial | 550.4587 | - | - | - | - | - | 0.75 | 0.8 | 0.775 | - | - | - | - | - | - | - | - | - | https://doi.org/10.1016/j.est.2023.107811
Nickel-Cadmium | - | - | - | Advanced | - | - | - | - | 3000 | - | - | 0.6 | 0.8 | 0.7 | - | - | - | - | 15 | 50 | 50 | 1000 | - | https://doi.org/10.1016/j.apenergy.2014.09.081 | https://doi.org/10.1016/j.rser.2021.111263
Pb acid | - | Abundant raw materials– low cost | Low energy density, limited cycle life, toxicity | Aqueous Battery |  | 32.5 | [5 empty] | 0.5 | 0.7 | 0.6 |  |  |  |  | 30 | 50 |  |  |  | https://doi.org/10.1016/j.rser.2016.02.024
NiFe | - | Long cycle life and abundant raw materials | Memoryeffects (relatively short life cycle), low efficiency | Aqueous Battery |  | 55 | [5 empty] | 0.55 | 0.65 | 0.6 |  |  |  |  | 30 | 50 |  |  |  | https://doi.org/10.1016/j.rser.2016.02.024
NiMH | - | Moderate energy density | Memoryeffects (relatively short life cycle), low efficiency | Aqueous Battery |  | 275-550 | [5 empty] | 0.65 | 0.7 | 0.675 |  |  |  |  | 50 | 80 |  |  |  | https://doi.org/10.1016/j.rser.2016.02.024
LiMn2O4/VO2 | - | High energy density, high round-trip efficiency, relatively long cycle life | High cost, safety issues, low Li abundance | Aqueous Battery |  | 600 | [5 empty] | 0.6 | 0.6 | 0.6 |  |  |  |  | 75 | 75 |  |  |  | https://doi.org/10.1016/j.rser.2016.02.024
Na-ion (lamba-MnO2/C) | - | High energy density, high round-trip efficiency, relatively long cycle life. | Little information– earlier development stage | Aqueous Battery |  | 350 | [5 empty] | 0.7 | 0.7 | 0.7 |  |  |  |  | 50 | 60 |  |  |  | https://doi.org/10.1016/j.rser.2016.02.024
Zn-air | - | High energy density, low cost, environmental friendliness, abundant raw materials, easy to scale up. | Short cycle life, low efficiency, self-discharge | Aqueous Battery |  | 7.5 | [5 empty] | 0.5 | 0.5 | 0.5 |  |  |  |  | 350 | 500 |  |  |  | https://doi.org/10.1016/j.rser.2016.02.024
Fe-air | - | Low cost, environmental friendliness, abundant raw materials, easy to scale up | Low coulombic efficiency, low energy density, self discharge | Aqueous Battery |  | 7.5 | [5 empty] | 0.45 | 0.45 | 0.45 |  |  |  |  | 60 | 80 |  |  |  | https://doi.org/10.1016/j.rser.2016.02.024
Note on G1: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Costi complessivi per tutta l'installazione
Note on F2: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Circa 600 kW
Note on E17: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Aqueous batteries are a type of rechargeable battery that use an aqueous electrolyte, which is a water-based solution containing salts, acids, or alkalis to facilitate the movement of ions between the battery's electrodes
Note on M17: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: Coulombin efficiency for all the aqueous batteries